340 SERIES STREAM ROTOR BIDDING SPECIFICATIONS

Note: These specifications were current at the time of publication but are subject to change at any time without notice. Please confirm the accuracy of these specifications with the manufacturer and/or distributor prior to installation.

The full- or part-circle sprinklers shall be a gear-driven rotary type. Full- or part-circle operation shall be accomplished by the use of a 340 Series plastic arc disc inserted beneath the rotating nozzle, designed to cover a ___ degree pattern. The sprinkler shall be capable of covering ____ feet radius at___ pounds per square inch pressure with a discharge rate of ___ gallons per minute. Water distribution shall be via a six (6), nine (9) or twelve (12) orifice nozzle mounted to a 1-3/8" diameter nozzle turret. One nozzle shall be capable of radius and gallonage adjustment for maximum flexibility. The body and cap of the sprinkler shall be injection molded from ABS, a non-corrosive, impact-resistant, UV-resistant, heavy-duty plastic material.

The sprinkler shall have a plastic filter screen sized to prevent entry of foreign material to the nozzle. All parts shall be removable through the top of the sprinkler case.

The sprinkler shall have a single-piece riser/body seal that regulates flushing during pop-up and retraction to clear any debris from around the riser and a stainless-steel spring to ensure positive retraction. The seal shall be a single piece injection molded from polyethylene. Various arc patterns shall be achieved with any one of nine plastic arc discs.

An adjustable radius nozzle shall be available. Rotation shall be accomplished by a water-lubricated, non-reversing, planetary gear drive assembly driven by a variable stator that maintains consistent speed of rotation through all nozzles and arc discs. The variable stator shall require no adjustment when changing nozzles or arc discs. A lavender effluent water use indicator shall be available and capable of snap fitting to the nozzle. A 3/4" NPT plug shall be provided with all side inlet models to plug the unused inlet.

High-Pop Version The sprinkler shall be of pop-up design with an overall height of 16", a body diameter of 2-3/8" and a pop-up stroke of 11-3/4". The sprinkler shall be capable of installation at grade level and shall have a 3/4" NPT female inlet. The sprinkler shall include a locking cap.

Lawn Version The sprinkler shall be of pop-up design with an overall height of 6-3/4", a body diameter of 2-3/8" and a pop-up stroke of 4". The sprinkler shall be capable of installation at grade level and shall have a 3/4" NPT female inlet.

Shrub Version The sprinkler shall be of shrub design with an overall height of 6" and a base diameter of 2". The sprinkler shall be capable of mounting above grade and shall have a 3/4" - 1/2" NPT female inlet. The sprinkler shall be developed and manufactured by an ISO 9001-certified facility.

The sprinkler shall be a model number _____________________ and shall be manufactured by The Toro Company, Irrigation Division, Riverside, California, USA.

END OF SECTION